## Revisions
Version | Date
2.4 | 2025-03-03

## Validation Rules
Validation rule | Description | Error Code (MDM) | KxS AC | KxS AI | Mapping AC/AI to Rejection |  | Rejection detail | Error code (MHB) | Reason Code (MHB) | Error text (MHB)
Energy Time Series Processing
MESSAGE LEVEL
VR.MDM-PMV-001 | The number of transactions in the message is no more than cmsSdlTransMax | MDM-PMV-001 | LIMIT | “trans” | LIMIT | trans |  | EC-MDM-PMV-001 | RC-MDM-PMV-001 | The number of transactions in the message is too high
VR.MDM-PMV-002 | The number of time series records in the message is no more than cmsSdlRecsMax | MDM-PMV-002 | LIMIT | “recs” | LIMIT | recs |  | EC-MDM-PMV-002 | RC-MDM-PMV-002 | The number of time series in the message is too high
VR.MDM-PMV-003 | The number of positions for the reading values in the transaction shall be in line with the reported period and resolution. | MDM-PMV-003 | INPUT | “recs” | INPUT | recs |  | EC-MDM-PMV-003 | RC-MDM-PMV-003 | The total number of records in the message is too high
VR.MDM-PMV-004 | The Juridical Sender / Process Role combination is a valid combination | MDM-PMV-004 | [5 empty] | EC-MDM-PMV-004 | RC-MDM-PMV-004 | The combination of Juridical Sender and Process Role is invalid
TRANSACTION LEVEL |  | Transaction level rejections refer to the transaction based on the UniqueIdentification and TimeSeriesIdentification
VR.MDM-PTV-001 | The reported Product Type must be a valid domain value | MDM-PTV-001 | DOMAIN | “prodType”: <value1>[, <value2>] | DOMAIN | prodType | #1 = <product type value> | EC-MDM-PTV-001 | RC-MDM-PTV-001 | The reported product type <1> is invalid
VR.MDM-PTV-002 | The reported Resolution (time step) must be a valid domain value | MDM-PTV-002 | DOMAIN | “res”: <value1>, <value2> | DOMAIN | res | #1 = <resolution value> | EC-MDM-PTV-002 | RC-MDM-PTV-002 | The reported resolution <1> is invalid
VR.MDM-PTV-003 | The reported Unit Type (Unit of Measure) must be a valid domain value | MDM-PTV-003 | DOMAIN | “uom”: <value1>, <value2> | DOMAIN | oum | #1 = <unit type value> | EC-MDM-PTV-003 | RC-MDM-PTV-003 | The reported unit type <1> is invalid
VR.MDM-PTV-004 | The reported Status/Quality of a time series value must be a valid domain value | MDM-PTV-004 | DOMAIN | “??”:<value1>, | DOMAIN | status | #1 = <status value> | EC-MDM-PTV-004 | RC-MDM-PTV-004 | The reported reading quality status <1> is invalid
VR.MDM-PTV-005 | SMP (Metering Point) must exist | MDM-PTV-005 | NOT_FOUND |  | NOT_FOUND |  |  | EC-MDM-PTV-005 | RC-MDM-PTV-005 | The reported metering point does not exist
VR.MDM-PTV-006 | The Physical Status of the metering point must be in the list of allowed status. | MDM-PTV-006 | STATUS |  | STATUS |  |  | EC-MDM-PTV-006 | RC-MDM-PTV-006 | The physical status of the metering point does not allow metering data to be reported
VR.MDM-PTV-007 | The Metering Point Type in the incoming transaction must match the Metering Point Type of the stored Metering Point | MDM-PTV-007 | MISMATCH | “smpType” | MISMATCH | smpType |  | EC-MDM-PTV-007 | RC-MDM-PTV-007 | The reported metering point type differs from the registered metering point
VR.MDM-PTV-008 | The MGA IN and MGA OUT elements in the message transaction shall be empty for non-Exchange Metering Points | MDM-PTV-008 | INPUT | “mgaIn” or “mgaOut” or “mgaIn,mgaOut” | INPUT | mgaIn |  | EC-MDM-PTV-008 | RC-MDM-PTV-008 | The MGA In and MGA Out shall not be reported for non-exchange metering point types
[5 empty] | INPUT | mgaOut
[5 empty] | INPUT | mgaIn,mgaOut
VR.MDM-PTV-009 | The MGA IN and MGA OUT attributes in the message transaction shall correspond with the MGA IN and MGA OUT stored with the Exchange Metering Point | MDM-PTV-009 | MISMATCH | “mgaIn,mgaOut” | MISMATCH | mgaIn,mgaOut |  | EC-MDM-PTV-009 | RC-MDM-PTV-009 | The reported MGA In and MGA Out do not match with the registered exchange metering point
VR.MDM-PTV-010 | The MGA in the incoming transaction must match the MGA of the stored Metering Point | MDM-PTV-010 | MISMATCH | “mga” | MISMATCH | mga |  | EC-MDM-PTV-010 | RC-MDM-PTV-010 | The reported MGA does not match with the registered metering point
VR.MDM-PTV-011 | The Settlement Method in the incoming transaction must match the Settlement Method of the stored Metering Point | MDM-PTV-011 | MISMATCH | “setlMethod” | MISMATCH | setlMethod |  | EC-MDM-PTV-011 | RC-MDM-PTV-011 | The reported Settlement Method does not match with the registered metering point
VR.MDM-PTV-012 | Metering Data of the incoming transaction having Active Energy must have a matching active pre-existing channel for the period to which the time series data is reported. | MDM-PTV-012 | CHANNEL |  | CHANNEL |  |  | EC-MDM-PTV-012 | RC-MDM-PTV-012 | The reported Active Energy cannot be matched to a pre-defined channel
VR.MDM-PTV-013 | Metering Data of the incoming transaction having Reactive Energy must have a matching active channel to which the time series data is reported or a pre-existing Active Energy channel with the same resolution must be active for the reported period. | MDM-PTV-013 | CHANNEL | “no active” | CHANNEL | no active |  | EC-MDM-PTV-013 | RC-MDM-PTV-013 | The reported Reactive Energy cannot be matched to a corresponding Active Energy channel
VR.MDM-PTV-014 | The reported Unit of Measure (UOM) must be equal to the UOM of the corresponding channel, or must be suitable for conversion based on the metric prefix. | MDM-PTV-014 | UOM |  | UOM |  |  | EC-MDM-PTV-014 | RC-MDM-PTV-014 | The reported Unit Type conflicts with the registered Unit Type
VR.MDM-PTV-015 | The specified resolution must be an intraday time series resolution | MDM-PTV-015 | INPUT | “interday” | INPUT | interday |  | EC-MDM-PTV-015 | RC-MDM-PTV-015 | The reported resolution is not supported
VR.MDM-PTV-016 | The period (Start time, End time), resolution (Time step) must match the number of values/positions in the transaction. | MDM-PTV-016 | RANGE |  | RANGE |  |  | EC-MDM-PTV-016 | RC-MDM-PTV-016 | The number of values/postitions does not meet the reported period and resolution
VR.MDM-PTV-017 | Reporting Metering Data is limited for the future up to <configurable> number of days. | MDM-PTV-017 | EXPIRED | “>” | EXPIRED | > |  | EC-MDM-PTV-017 | RC-MDM-PTV-017 | The reported period is beyond the allowed period in the future
VR.MDM-PTV-018 | Reporting Metering Data is limited for the past up to <configurable> number of months. | MDM-PTV-018 | EXPIRED | “<” | EXPIRED | < |  | EC-MDM-PTV-018 | RC-MDM-PTV-018 | The reported period is beyond the allowed period in the past
VR.MDM-PTV-019 | The Metering Point and Channel must be valid for the full period being reported. | MDM-PTV-019 | EXPIRED | “channel” | EXPIRED | channel |  | EC-MDM-PTV-019 | RC-MDM-PTV-019 | The metering point and/or related time series channel for the reported product type and resolution is (partially) not active for the reported period
VR.MDM-PTV-020 | Multiple transactions in a single message shall not have an overlapping period for the same Channel (combination of Metering Point, product type and direction) | MDM-PTV-020 | REL_OVERLAP |  | REL_OVERLAP |  |  | EC-MDM-PTV-020 | RC-MDM-PTV-020 | Overlapping time series detected in different transactions
VR.MDM-PTV-021 | The Juridical Sender (orgID) must match with the organisation responsible for reporting metering data (dsoID) | MDM-PTV-021 | PERM | “org” | PERM | org |  | EC-MDM-PTV-021 | RC-MDM-PTV-021 | Not authorised to report metering data
VR.MDM-PTV-022 | In a message transaction, each position – starting at 1 and incremented by 1 – shall be available. | MDM-PTV-022 | SEQ |  | SEQ |  |  | EC-MDM-PTV-022 | RC-MDM-PTV-022 | The position numbers are incorrect for the period
VR.MDM-PTV-023 | The number of records in the time series transaction shall not exceed parameter cmsSdlTransRecsMax | MDM-PTV-023 | LIMIT | "transRecs" | LIMIT | transRecs |  | EC-MDM-PTV-023 | RC-MDM-PTV-023 | The number of records in the time series is too high
VR.MDM-PTV-024 | The metering point is disabled for receiving time series | MDM-PTV-024 | SMP_DISABLED |  | SMP_DISABLED |  |  | EC-MDM-PTV-024 | RC-MDM-PTV-024 | The metering point is disabled for receiving time series
VR.MDM-PTV-024 | The metering point is disabled for receiving time series | MDM-PTV-024 | SMP_CAT |  | SMP_CAT |  |  | EC-MDM-PTV-024 | RC-MDM-PTV-024 | The metering point is disabled for receiving time series
DELEGATION
VR.MDM-PDV-001 | Juridical Sender equals Physical Sender, or an active inbound delegation rule exists from the Juridical Sender to the Physical Sender and matches the mga and reason code (or applies to all) | MDM-PDV-001 | PERM | “sender” | PERM | sender |  | EC-MDM-PDV-001 | RC-MDM-PDV-001 | Not authorised to report metering data for juridical sender
VEE (Validation) | On time series / value level
<configurable - see VEE Rules> | Identifies intervals where the reading timestamp falls outside a preconfigured period of the reporting time | MDM-VAL-TIMESTAMP | LIMIT | timestamp | LIMIT | timestamp | <timestamp> | EC-MDM-VAL-TIMESTAMP | RC-MDM-VAL-TIMESTAMP | VEE timestamp validation failed for timestamp <1>
<configurable - see VEE Rules> | Identifies readings above or below a configured threshold, or inside or outside a pair of configured thresholds | MDM-VAL-RANGE | LIMIT | range | LIMIT | range | <timestamp> | EC-MDM-VAL-RANGE | RC-MDM-VAL-RANGE | VEE range validation failed for timestamp <1>
<configurable - see VEE Rules> | Identifies intervals with suspiciously high usage relative to a preconfigured threshold or the surrounding intervals | MDM-VAL-SPIKE | LIMIT | spike | LIMIT | spike | <timestamp> | EC-MDM-VAL-SPIKE | RC-MDM-VAL-SPIKE | VEE spike validation failed for timestamp <1>
<configurable - see VEE Rules> | Identifies intervals with suspiciously low usage relative to a preconfigured threshold or the surrounding intervals | MDM-VAL-DIP | LIMIT | dip | LIMIT | dip | <timestamp> | EC-MDM-VAL-DIP | RC-MDM-VAL-DIP | VEE dip validation failed for timestamp <1>
<configurable - see VEE Rules> | Identify readings whose quality transition is illegal | MDM-VAL-QUAL | STATE | cmsqual | STATE | cmsqual | <timestamp> | EC-MDM-VAL-QUAL | RC-MDM-VAL-QUAL | VEE qual validation failed for timestamp <1>
<configurable - see VEE Rules> | Identifies cumulative usage that is suspiciously high or low relative to recent or historical usage | MDM-VAL-HIGHLOW | LIMIT | highlow | LIMIT | highlow | <timestamp> | EC-MDM-VAL-HIGHLOW | RC-MDM-VAL-HIGHLOW | VEE highlow validation failed for timestamp <1>
<configurable - see VEE Rules> | Identifies active sensors having a suspicious number of consecutive zero readings (possibly across transmissions) | MDM-VAL-ZEROES | LIMIT | zeroes | LIMIT | zeroes | <timestamp> | EC-MDM-VAL-ZEROES | RC-MDM-VAL-ZEROES | VEE zeroes validation failed for timestamp <1>
<configurable - see VEE Rules> | Identifies inactive sensors having nonzero readings | MDM-VAL-INACTIVE | LIMIT | inactive | LIMIT | inactive | <timestamp> | EC-MDM-VAL-INACTIVE | RC-MDM-VAL-INACTIVE | VEE inactive validation failed for timestamp <1>
<configurable - see VEE Rules> | Ensures that the readings represented by the interval data are consistent with related cumulative register readings recorded by the same sensor over the same time period | MDM-VAL-SUM | LIMIT | sum | LIMIT | sum |  | EC-MDM-VAL-SUM | RC-MDM-VAL-SUM | VEE sum validation failed
<configurable - see VEE Rules> | Identifies missing readings within or across reading groups | MDM-VAL-GAP | LIMIT | gap | LIMIT | gap |  | EC-MDM-VAL-GAP | RC-MDM-VAL-GAP | VEE gap validation failed
<configurable - see VEE Rules> | Tests for a number of conditions pertaining to sensor state, including general error check, test mode check, time change check, sensor diagnostic check, power interruption check, and partial interval check | MDM-VAL-FLAGS | LIMIT | flags | LIMIT | flags |  | EC-MDM-VAL-FLAGS | RC-MDM-VAL-FLAGS | VEE flags validation failed
<configurable - see VEE Rules> | Validates the maximum precision in number of decimals corresponding with the unit type on the channel. | MDM-VAL-PRECISION | LIMIT | precision | LIMIT | precision | <timestamp> | EC-MDM-VAL-PRECISION | RC-MDM-VAL-PRECISION | VEE precision validation failed for timestamp <1>
<configurable - see VEE Rules> | Validates the alignment between the reading timestamp and the interval (resolution) of a channel. | MDM-VAL-INTERVAL | CHANNEL | interval | CHANNEL | interval | <timestamp> | EC-MDM-VAL-INTERVAL | RC-MDM-VAL-INTERVAL | VEE interval validation failed for timestamp <1>
<configurable - see VEE Rules> | All readings (quantity + quality) in a transaction shall not be exactly the same as already stored. | MDM-VAL-DUPTRANS | DUP_KEY | dupTrans | DUP_KEY | dupTrans | <timestamp> | EC-MDM-VAL-DUPTRANS | MDM-VAL-DUPTRANS | VEE duplicate validation failed
VEE technical errors
|  | MDM-ERR-01 | ERR | timestamp |  |  |  |  | RC-MDM-ERR | Internal error while validating timestamp check
|  | MDM-ERR-02 | ERR | range |  |  |  |  | RC-MDM-ERR | Internal error while validating range check
|  | MDM-ERR-03 | ERR | spike |  |  |  |  | RC-MDM-ERR | Internal error while validating spike check
|  | MDM-ERR-04 | ERR | dip |  |  |  |  | RC-MDM-ERR | Internal error while validating dip check
|  | MDM-ERR-05 | ERR | highlow |  |  |  |  | RC-MDM-ERR | Internal error while validating highlow check
|  | MDM-ERR-06 | ERR | zeroes |  |  |  |  | RC-MDM-ERR | Internal error while validating zeroes check
|  | MDM-ERR-07 | ERR | inactive |  |  |  |  | RC-MDM-ERR | Internal error while validating inactive check
|  | MDM-ERR-08 | ERR | sum |  |  |  |  | RC-MDM-ERR | Internal error while validating sum check
|  | MDM-ERR-09 | STATE | <any> |  |  |  |  | RC-MDM-ERR | Reading is in invalid state
|  | MDM-ERR-10 | DB | md |  |  |  |  | RC-MDM-ERR | Master data missing
|  | MDM-ERR-11 | ERR | gap |  |  |  |  | RC-MDM-ERR | Internal error while validating gap check
|  | MDM-ERR-12 | ERR | flags |  |  |  |  | RC-MDM-ERR | Internal error while validating flags check
Request Energy Time Series
MESSAGE LEVEL
VR.MDM-RMV-001 | The requested Product Type must be valid | MDM-RMV-001 | n/a | n/a | n/a | n/a |  | EC-MDM-RMV-001 | RC-MDM-RMV-001 | Invalid Product Type requested
VR.MDM-RMV-002 | The requested Unit of Measure must be valid | MDM-RMV-002 | n/a | n/a | n/a | n/a |  | EC-MDM-RMV-002 | RC-MDM-RMV-002 | Invalid Unit Type requested
VR.MDM-RMV-003 | The requested Product Type and Unit of Measure must be a valid combination. | MDM-RMV-003 | n/a | n/a | n/a | n/a |  | EC-MDM-RMV-003 | RC-MDM-RMV-003 | Invalid combination of Product Type and Unit Type requested
VR.MDM-RMV-004 | Period End is greater than Period Start. | MDM-RMV-004 | n/a | n/a | n/a | n/a |  | EC-MDM-RMV-004 | RC-MDM-RMV-004 | Period End is not greater than Period Start
VR.MDM-RMV-005 | The Juridical Sender / Process Role combination is a valid combination | MDM-RMV-005 | [5 empty] | EC-MDM-RMV-005 | RC-MDM-RMV-005 | The combination of Juridical Sender and Process Role is invalid
VR.MDM-RMV-100 | There should be data for the requested period to return a response message, otherwise an acknowledgement with error 'no data found' is returned. | MDM-RMV-100 | [5 empty] | EC-MDM-RMV-100 | RC-MDM-RMV-100 | No data found
VR.MDM-RMV-200 | The requested Invoice Relevant Flag and Metering Point Type must be a valid combination. | MDM-RMV-200 | n/a | n/a | n/a | n/a |  | EC-MDM-RMV-200 | RC-MDM-RMV-200 | Invalid combination of Invoice Relevant Flag and Metering Point Type requested
VR.MDM-RMV-201 | The requested period is limited to <CP_DH22x_REQ_PERIOD_MAXDAYS> calendar days when no individual metering points are provided. | MDM-RMV-201 | n/a | n/a | n/a | n/a |  | EC-MDM-RMV-201 | RC-MDM-RMV-201 | The requested period without identifying individual metering points exceeds the maximum number of calendar days: <1> | <1> = <CP_DH22x_REQ_PERIOD_MAXDAYS>
VR.MDM.RMV.202 | MeteringpointID must be in the correct form: the check digit must be determined correctly and length must be 18. | MDM-RMV-202 | n/a | n/a | n/a | n/a |  | EC-MDM-RMV-202 | RC-MDM-RMV-202 | Value '<1>' invalid, attribute '<2>' is not a valid GSRN (wrong control digit or length unequal to 18).
Check Energy Time Series Quality
VR.MDM-QMV-001 | <future> | MDM-QMV-001 | n/a | n/a | n/a | n/a |  | EC-MDM-QMV-001 | RC-MDM-QMV-001 | <future>
Check Energy Time Series Usage
VR.MDM-UMV-001 | <future> | MDM-UMV-001 | n/a | n/a | n/a | n/a |  | EC-MDM-UMV-001 | RC-MDM-UMV-001 | <future>
MDM Datahub Report validation rule
VR.MDM-RPT-001 | Access to report is only allowed for MOP organisation or DSO with organisation identifier = <CP_RPTCONTSO_FINGRID_DSO> | MDM-RPT-001 | n/a | n/a | n/a | n/a |  | EC-MDM-RPT-001 | RC-MDM-RPT-001 | Not allowed to request report.
VR.MDM-RPT-002 | Access to report is only allowed for MOP organisation or specific authority with organisation identifier = CP_RPT _ORGANISATION_AUT | MDM-RPT-001 | n/a | n/a | n/a | n/a |  | EC-MDM-RPT-001 | RC-MDM-RPT-001 | Not allowed to request report.
GUI validations for starting MDM processes
SMT.RTR.001 | The requested time series types shall match with the list of default time series types (‘TimeSeriesType’ process parameter(s)). | EC-SMT-RTS-001 | n/a | n/a | n/a | n/a |  | EC-SMT-RTS-001 |  | Unknown time series types
SMT.RTR.002 | The requested settlement type shall match with the list of default settlement type(s) (‘SettlementType’ process parameter(s)). | EC-SMT-RTS-002 | n/a | n/a | n/a | n/a |  | EC-SMT-RTS-002 |  | unknown settlement types
SMT.RTR.003 | The PeriodstartTS shall be before the PeriodEndTS | EC-SMT-RTS-003 | n/a | n/a | n/a | n/a |  | EC-SMT-RTS-003 |  | PeriodEndTS cannot be before PeriodStartTS
Balance Deviation Calculation and Reporting
VR-SMT-BLD-001 | The Nordpool spotprices must be available and complete for the period of calculation. Nordpool spotprices are loaded using the DH-691 process. The prices are established after the day of operation (i.e. the next day). | EC-SMT-BLD-001 | No source time series found | .cmsfg.balanceDev: spot price |  |  |  | EC-SMT-BLD-001 | RC-SMT-BLD-001 | The Nordpool spotprices are not available and complete for the period of calculation.
VR-SMT-BLD-002 | The start timestamp of the calculation period must be provided | EC-SMT-BLD-002 | INPUT | startTS |  |  |  | EC-SMT-BLD-002 | RC-SMT-BLD-002 | The start timestamp of the calculation period is not provided.
VR-SMT-BLD-003 | The end timestamp of the calculation period must be provided | EC-SMT-BLD-003 | INPUT | endTS |  |  |  | EC-SMT-BLD-003 | RC-SMT-BLD-003 | The end timestamp of the calculation period is not provided.
VR-SMT-BLD-004 | The end timestamp must be beyond the start timestamp | EC-SMT-BLD-004 | INPUT | start/endTS |  |  |  | EC-SMT-BLD-004 | RC-SMT-BLD-004 | The end timestamp is not beyond the start timestamp.
VR-SMT-BLD-005 | The asOf timestamp is either empty or a timestamp in the past | EC-SMT-BLD-005 | INPUT | asOfTS |  |  |  | EC-SMT-BLD-005 | RC-SMT-BLD-005 | The asOf timestamp is not empty or a timestamp in the past.
VR-SMT-BLD-006 | The last accepted balance deviation end timestamp of any of the requested accounting points shall be smaller or equal to the requested end timestamp | EC-SMT-BLD-006 | INPUT | small endTS |  |  |  | EC-SMT-BLD-006 | RC-SMT-BLD-006 | The last accepted balance deviation end timestamp of any of the requested accounting points is not smaller or equal to the requested end timestamp.
VR-SMT-BLD-007 | The last accepted balance deviation asOf timestamp of any of the requested accounting points shall be smaller or equal to the requested asOf timestamp | EC-SMT-BLD-007 | INPUT | small asOfTS |  |  |  | EC-SMT-BLD-007 | RC-SMT-BLD-007 | The last accepted balance deviation asOf timestamp of any of the requested accounting points is not smaller or equal to the requested asOf timestamp.
VR-SMT-BLD-008 | One or more MGAs must be provided | EC-SMT-BLD-008 | INPUT | mgas |  |  |  | EC-SMT-BLD-008 | RC-SMT-BLD-008 | One or more MGAs must be provided.
VR-SMT-BLD-009 | The option ‘use exclustion list’ shall not be used when individual accounting points are provided | EC-SMT-BLD-009 | INPUT | SMPs+excl |  |  |  | EC-SMT-BLD-009 | RC-SMT-BLD-009 | The option ‘use exclustion list’ shall not be used when individual accounting points are provided.
VR-SMT-BLD-010 | The calculation period shall be locked by an imbalance settlement process, consecutively and uniquely. | EC-SMT-BLD-010 | ALIGN | lock start/endTS |  |  |  | EC-SMT-BLD-010 | RC-SMT-BLD-010 | The calculation period isn't locked.
VR-SMT-BLD-011 | All relevant MGAs shall have a locked period | EC-SMT-BLD-011 | NOT FOUND | lock ts |  |  |  | EC-SMT-BLD-011 | RC-SMT-BLD-011 | Not all relevant MGAs have a locked period.
VR-SMT-BLD-012 | No source time series found | EC-SMT-BLD-012 | INPUT | No source time series found |  |  |  | EC-SMT-BLD-012 | RC-SMT-BLD-012 | No source time series found

## VEE Rules
Validation Rule | Description | Rule condition (filter) | VEE rule type | VEE rule configuration (params) | Remark
VR.MDM-VAL-QUAL | The Status replacement of a reading value shall follow the predefined transitions (prevent a weaker status) | n/a | MDM-VAL-QUAL | { cmsQual=`NONE:`MISSING`UNCERTAIN`EST`OK`REVISED, `MISSING:`MISSING`UNCERTAIN`EST`OK`REVISED, `UNCERTAIN:`UNCERTAIN`EST`OK`REVISED, `EST:`EST`OK`REVISED, `OK:`OK`REVISED, `REVISED:`REVISED } | Exhaustive list of allowed transitions. NONE is considered no value reported at all. Applied to all metering point types (F01, E18, E20) and all types of energy (active, reactive general, reactive in, reactive out).
VR.MDM-VAL-RANGE-NEG | The reading value shall not be negative | n/a | MDM-VAL-RANGE | { method=lower limit=0 rejectInside=false } | Fixed range check, method lower, limit 0 Applied to all metering point types and all types of energy (active/ reactive).
VR.MDM-VAL-RANGE-CAPACITY | The reading value of a metering point shall not exceed the capacity by a factor 10 (hourly) or factor 2,5 (15 minutes) | MeteringPointType (SMP.typ) = F01 or E18 and ProductType (Channel.subType) = 8716867000030 | MDM-VAL-RANGE | { method=upper upperLimit=kxsSMPAttr.capacity*(kxsChannel.intv/6) rejectInside=false } | Include the interval in the upperLimit PT1H: intv=60 -> uperLimit = capacity * 10 PT15M: intv=15 -> upperlimit = capacity * 2,5 Applied to accounting points (F01, consumption and production) as well as production units (E18) and only for active energy.
VR.MDM-VAL-PRECISION | The reading value shall have a maximum of 3 decimals (kWh), i.e. max precision is 1 Wh. | ProductType (Channel.subType) = 8716867000030 and UnitType (Channel.uom) = KWH | MDM-VAL-PRECISION | { precision=1000 } | Precision check on Active Energy and kWh unit precision scaled by 1e6: 1Wh = 0,001 kWh => * 1e6 = 1000
VR.MDM-VAL-INTERVAL | The reading timestamp of the submitted time series must be aligned with the interval (resolution) of the channel. | n/a | MDM-VAL-INTERVAL | n/a | No parameters. Rule is enabled for all submitted readings.
VR.MDM-VAL-DUPTRANS | All readings (quantity + quality) in a transaction shall not be exactly the same as already stored. | n/a | MDM-VAL-DUPTRANS | { action=PVAL } | Rule is enabled for all submitted readings. NOTE: Config parameter veeRejDupTrans must be set to TRUE at Fingrid level to force a rejection when all readings are duplicate.